## Products
Part Number | Part Name | Part Indicator | Description | Portfolio | Product Brand | Product Series | Product Type | Government Funding | Status
A-100458 |  | Variant | Combiner/ Mast head amplifier enclosure for micro cell sites
A-100461 |  | Variant | Combiner/ Mast head amplifier enclosure for micro cell sites
A-100462 |  | Variant | Transmission Services Cabinet (TSC), Mark 2
A-VF1-S0XXG |  | Base Product | Cheshire Cabinet with rails and brackets fitted to accommodate up to 12 Samsung Radios
A-VF1-S0X3L |  | Base Product | CheshirePlus Cabinet Samsung Fitout 3
MONITOR-16 |  | Variant | Monitor Free Cooling System, 16 kW
MONITOR-4 |  | Variant | Monitor Free Cooling System, 4 kW
A-100329 |  | Variant | Link ac Cabinet, Mark 4
A-100470 |  | Variant | Vulcan NSN/NSN Cabinet, Mark 2
A-100471 |  | Variant | Lancaster NSN/NSN Cabinet (Combiner Space)
A-100197 |  | Variant | Combiner/ Mast head amplifier enclosure for micro cell sites
A-100472 |  | Variant | Joint Services Cabinet (JSC), Mark 3
A-100875 |  | Variant | WILLI Combiner Cabinet
A-VF1-SX0XG |  | Base Product | Derby Cabinet with rails and brackets fitted to accommodate up to 6 Samsung Radios
A-VF1-EX0XG |  | Base Product | Derby Cabinet with rails and brackets fitted to accommodate up to 6 Ericsson Radios
A-VF1-E0X1L |  | Base Product | CheshirePlus Cabinet Ericsson Fitout 1
A-VF1-EXX1G |  | Base Product | PSC Cabinet Ericsson Fitout 1
A-VF1-SXX3G |  | Base Product | PSC Cabinet Samsung Fitout 3
A-VF1-EXX3G |  | Base Product | PSC Cabinet Ericsson Fitout 3
A-VF1-SX03L |  | Base Product | DerbyPlus Cabinet Samsung Fitout 3
A-VF1-EX03L |  | Base Product | DerbyPlus Cabinet Ericsson Fitout 3
760187989 |  | Variant | RBA84-36 GE 8RU 48/24V, HEX / Saft-DAC, Power & Battery Cabinet | [5 empty] | Discontinued
FBR-COIL-S |  | Variant | HELIAX® Excess Discrete Fiber Coiling Reel, accommodates 16ft (5m) of excess 7mm fiber, weights 5lbs fully populated, stackable, PIM free
FE-12104-G-R4 |  | Variant | HELIAX® Fiber and Power Junction Box for 1 Hybrid Trunk / 4 Hybrid Jumper Cables with Internal Grounding | [5 empty] | Discontinued
FE-14126-R47 |  | Variant | Fiber and power cable connection enclosure. Manages one 4-core or 8-core power trunk 12 AWG up to 6 AWG, one 24 fiber trunk cable and up to 7 hybrid tails. Internal trunk grounding. IP67
21B0-T1-A04D16-01 | CMC21 | Variant | CMC21 PowerShift Metro® Power Hub w/ Iris, Sierra, and ACS,Battery & Modules ordered separately – 16.8 kW (includes N+1 module redundancy)
760250058 | CMC-74-36E | Variant | CMC-74 Equipment Cabinet, 4 kW Air Conditioner, DC |  |  | CMC
760251256 | CMC-74-36C | Variant | CMC-74 Equipment and Battery Cabinet NiCd, 3-String, 3 kW Air Conditioner, DC |  |  | CMC
760250963 | CMC-74-36B | Variant | CMC-74, NiCd Battery Cabinet 6-String, with 1 kW Heater |  |  | CMC
21B1-T1-A03D12-01 | CMC21 | Variant | CMC21 PowerShift Metro® Power Hub w/ Iris, Sierra, and ACS, Battery & Modules not Included – 9.6 kW
760250933 | CMC- 36 Plinth | Variant | CMC 6” High Plinth, Cabinet Mounting Used with 36” Wide Cabinets |  |  | CMC
MONITOR-12 |  | Variant | Monitor Free Cooling System, 12 kW
MONITOR-9 |  | Variant | Monitor Free Cooling System, 9 kW
21B0-T1-A00D00-00 | CMC21 | Variant | Empty CMC21 Thermosiphon Outdoor Equipment Cabinet |  |  | CMC
28B0-D3-A00D00-00 | CMC28 | Variant | Empty CMC28 2000W HVAC Empty Outdoor Equipment Cabinet |  |  | CMC
35B0-D3-A00D00-01 | CMC35 | Variant | Empty CMC35 2000W HVAC Outdoor Equipment Cabinet |  |  | CMC
760250540 | CMC74-36B | Variant | CMC74-36B VRLA Battery Cabinet 6-String, 1 kW HVAC with 500 W Heater, DC |  |  | CMC
L8B0-D8-A00D00-01 | CMC8L | Variant | Empty CMC8L 300W HVAC Outdoor Equipment Cabinet |  |  | CMC
S14B0-T3-A00D00-00 | CMC14S | Variant | Empty CMC14S Thermosiphon Outdoor Equipment Cabinet |  |  | CMC
S8B0-D1-A00D00-01 | CMC8S | Variant | CMC8S 2x 300W HVAC Empty Outdoor Equipment Cabinet |  |  | CMC
A-100324 |  | Variant | Mini G Cabinet
A-100468 |  | Variant | Three Phase Meter Cabinet
A-100451 |  | Variant | Hercules Cabinet
A-100573 |  | Variant | Pogona Cabinet
A-100586 |  | Variant | Komodo Cabinet
A-100872 |  | Variant | Three Phase Meter Cabinet with Generator
A-100454 |  | Variant | Single Phase Meter Pillar Cabinet
A-100455 |  | Variant | Single Phase Meter Cabinet
A-100606 |  | Variant | Meter Cabinet, empty
A-100474 |  | Variant | Integrated Power and Communications Cabinet (IPC), Mark 2
A-100514 |  | Variant | Meter Pillar Cabinet with Backboard Only
A-100880 |  | Variant | Meter Cabinet with Backboard Only
A-100534 |  | Variant | Outdoor Transmission Cabinet
FE-18188 |  | Variant | HELIAX® Outdoor Excess Cable Enclosure, 18 in x 18 in x 8 in
FE-182308-F12 |  | Variant | HELIAX® Fiber Junction Box for 1 Trunk / 6 Jumper Cables
A-101430 |  | Variant | Bowler E/// cab w/o diplexors
A-VF1-E0XXG |  | Base Product | Cheshire Cabinet with rails and brackets fitted to accommodate up to 12 Ericsson Radios
A-VF1-SXX1G |  | Base Product | PSC Cabinet Samsung Fitout 1
A-VF1-EXX2G |  | Base Product | PSC Cabinet Ericsson Fitout 2
A-VF1-S0X2L |  | Base Product | CheshirePlus Cabinet Samsung Fitout 2
A-VF1-E0X2L |  | Base Product | CheshirePlus Cabinet Ericsson Fitout 2
A-VF1-E0X3L |  | Base Product | CheshirePlus Cabinet Ericsson Fitout 3
A-VF1-SX02L |  | Base Product | DerbyPlus Cabinet Samsung Fitout 2
A-VF1-EX02L |  | Base Product | DerbyPlus Cabinet Ericsson Fitout 2
FE-12104-T-R4 |  | Variant | HELIAX® Fiber and Power Junction Box for 1 Hybrid Trunk / 4 Hybrid Jumper Cables, Blue and Grey Terminal Blocks
FE-12106-R11 |  | Variant | HELIAX® Fiber and Power Junction Box for 1 Hybrid Trunk, 1 Fiber Trunk, 1 Power Trunk, 8 Hybrid Jumper, Grey Terminal Blocks, 2 Grounding Blocks
FE-18184 |  | Variant | HELIAX® Outdoor Excess Cable Enclosure, 18 in x 18 in x 4 in
760251249 | CMC-74-36C | Variant | CMC-74 Equipment and Battery Cabinet VRLA, 3-String, 3 kW Air Conditioner, DC |  |  | CMC
760250651 | CMC-85-36C | Variant | CMC-85, Equipment and Battery Cabinet VRLA, 3- String, 4 kW Air Conditioner, and 1 kW Battery Air Conditioner with 500 W Heater, DC |  |  | CMC
760250956 | CMC-85-36C | Variant | CMC-85, Equipment and Battery Cabinet NiCd, 3-String, 4 kW Air Conditioner, DC |  |  | CMC
FE-1463 |  | Variant | HELIAX® Outdoor Excess Cable Enclosure, 14 in x 6 in x 3 in
S8B0-D8-A00D00-00 | CMC8S | Variant | Empty CMC8S 1x 300W HVAC, 1x 300W Heater, Outdoor Equipment Cabinet |  |  | CMC
A-VF1-S0X1L |  | Base Product | CheshirePlus Cabinet Samsung Fitout 1
A-VF1-SX01L |  | Base Product | DerbyPlus Cabinet Samsung Fitout 1
A-VF1-EX01L |  | Base Product | DerbyPlus Cabinet Ericsson Fitout 1
A-VF1-SXX2G |  | Base Product | PSC Cabinet Samsung Fitout 2
760133546 |  | Variant | RBA84-36 24V-Primary / 48V-Secondary Power & Battery Cabinet | [5 empty] | Discontinued